Publication Date 2025

| DXL STEEL FRAMING SYSTEMS PRODUCT DATA SHEET |  |
| --- | --- |

DRYWALL J-BEAD

| DXL- JB SERIES DXL J-Beads are galvanized steel edge trim profiles used to finish and protect exposed drywall board edges. DXL J型收边条采用镀锌钢板成型，用于石膏板外露边缘的收口与保护。 1. PRODUCT INFORMATION / 产品信息 Product Name 产品名称; Drywall F-Bead. Model No. 型号; DXL-JB Series. Category 类别; Drywall Framing System. Application 应用; Drywall edge finishing and termination. 2. DIMENSIONS / 尺寸参数 Profile Size (A); Standard＆Custom Sizes. Thickness (T); 0.35 0.4 0.45 0.5. Length; 2800 / 3000 / Custom（≥2000）. 3. MATERIAL / 材料与表面处理 Material材质; Galvanized steel. Zinc Coating 镀锌层; Z100 - Z275 g/m². Surface finish 表面处理; Hot-dip Galvanized. 4. TOLERANCE / 公差标准 Thickness 厚度公差; ±0.03 mm. Width 宽度公差; ±0.50 mm. Length 长度公差; ±5.0 mm. | 6.Product Photo / 产品实物 DXL-WS SERIES. 7.SECTIONVIEW / 截面图 DXL-WS PROFILE. 8. PACKAGING / 包装示意 Standard bundle packing category-name printed bag. Easy for storage and identification |
| --- | --- |

For Sales Inquiries, please contact our global support team via WhatsApp:＋78764422 or dxlmetal@gmail.com

DXL—Reliable Quality，Global Trust

Specification Table

| Model | Vertical Leg | Horizontal Leg | Return Edge | Thickness（T）mm | Length (T) mm |
| --- | --- | --- | --- | --- | --- |
| DXL-JB-27-20-20 | 27 | 20 | 20 | 0.35 0.4 0.45 05 | 2800 3000 custom（≥2000） |
| DXL-JB-30-21 | 30 | 21 | 21 | 0.35 0.4 0.45 05 | 2800 3000 custom（≥2000） |
| DXL-JB-27-20-12 | 27 | 20 | 17 | 0.35 0.4 0.45 05 | 2800 3000 custom（≥2000） |
| DXL-JB-40-25 | 40 | 25 | 30 | 0.35 0.4 0.45 05 | 2800 3000 custom（≥2000） |
| DXL- |  |  |  |  |  |

Notes

- Custom length available for all models

For Sales Inquiries, please contact our global support team via WhatsApp:＋78764422 or dxlmetal@gmail.com

DXL—Reliable Quality，Global Trust

Special dimensions and thickness are available upon request