Publication Date 2025

| DXL STEEL FRAMING SYSTEMS PRODUCT DATA SHEET |  |
| --- | --- |

MAIN CHANNEL

CEILING CHANNEL

| DXL- MC SERIES DXL Main Channels are cold-formed galvanized steel sections used as primary support members in suspended ceiling systems . 1. PRODUCT INFORMATION Product Name; Ceiling Main Channel. Model No.; DXL-MC Series. Category; Ceiling Framing System. Application; Suspended ceiling support systems. 2. DIMENSIONS Web Width (A); 38 50. Thickness (T); 1.0 / 1.2. Length; 2800 / 3000 / Custom（≥2000）. 3. MATERIAL Material; Hot-dip Galvanized steel. Zinc Coating; Z100 - Z275 g/m². Surface finish; Galvanized silver-grey finish; custom color powder coating available.. 4. TOLERANCE Thickness; 0/-0.02 mm. Width; 0/-0.5 mm. Length; ±1.0 mm. | 6.Product Photo DXL-WS SERIES. 7.SECTIONVIEW DXL-WS PROFILE. 8. PACKAGING Standard bundle packing category-name printed bag. Easy for storage and identification |
| --- | --- |

Specification Table

| Model | Web （A）mm | Flange（B）mm | Thickness（T）mm | Length (T) mm | Packing |
| --- | --- | --- | --- | --- | --- |
| DXL-MC-38 | 38 | 12 | 1.0 / 1.2 | 2800 3000 custom（≥2000） | As per order confirmation |
| DXL-MC-50 | 50 | 15 | 1.0 / 1.2 | 2800 3000 custom（≥2000） | As per order confirmation |

Notes

- Custom length available for all models

- Special dimensions and thickness are available upon request

- Theoretical weight is for reference only. Actual weight shall prevail