Publication Date 2025

| DXL STEEL FRAMING SYSTEMS PRODUCT DATA SHEET |  |
| --- | --- |

MAIN CHANNEL

CEILING CHANNEL

| DXL- MC SERIES DXL Main Channels are cold-formed galvanized steel sections used as primary support members in suspended ceiling systems. DXL 主龙骨采用优质冷轧镀锌钢板成型，用作吊顶系统中的主要承载支撑构件。 1. PRODUCT INFORMATION / 产品信息 Product Name 产品名称; Ceiling Main Channel. Model No. 型号; DXL-MC Series. Category 类别; Ceiling Framing System. Application 应用; Suspended ceiling support systems. 2. DIMENSIONS / 尺寸参数 Web Width (A); 38 50. Thickness (T); 1.0 1.2. Length; 2800 / 3000 / Custom（≥2000）. 3. MATERIAL / 材料与表面处理 Material材质; Galvanized steel. Zinc Coating 镀锌层; Z100 - Z275 g/m². Surface finish 表面处理; Hot-dip Galvanized. 4. TOLERANCE / 公差标准 Thickness 厚度公差; ±0.03 mm. Width 宽度公差; ±0.50 mm. Length 长度公差; ±5.0 mm. | 6.Product Photo / 产品实物 DXL-WS SERIES. 7.SECTIONVIEW / 截面图 DXL-WS PROFILE. 8. PACKAGING / 包装示意 Standard bundle packing category-name printed bag. Easy for storage and identification |
| --- | --- |

For Sales Inquiries, please contact our global support team via WhatsApp:＋78764422 or dxlmetal@gmail.com

DXL—Reliable Quality，Global Trust

Specification Table

| Model | Web （A）mm | Flange（B）mm | Thickness（T）mm | Length (T) mm |
| --- | --- | --- | --- | --- |
| DXL-MC-38 | 38 | 12 | 1.0 1.2 | 2800 3000 custom（≥2000） |
| DXL-MC-50 | 50 | 18 | 1.0 1.2 | 2800 3000 custom（≥2000） |
| DXL- |  |  |  |  |
| DXL- |  |  |  |  |
| DXL- |  |  |  |  |

Notes

- Custom length available for all models

- Special dimensions and thickness are available upon request

For Sales Inquiries, please contact our global support team via WhatsApp:＋78764422 or dxlmetal@gmail.com

DXL—Reliable Quality，Global Trust