Publication Date 2025

| DXL STEEL FRAMING SYSTEMS PRODUCT DATA SHEET |  |
| --- | --- |

SQUARE LEG HAT CHANNEL

CEILING SYSTEMS

| DXL- HSC SERIES DXL Square Leg Hat Channels are galvanized steel furring profiles with straight side legs, used for ceiling and wall framing applications 1. PRODUCT INFORMATION Product Name; Ceiling Square Leg Hat Channel. Model No.; DXL-HSC Series. Category; Ceiling Framing Systems. Application; Ceiling and wall framing systems. 2. DIMENSIONS Profile Size (A); Standard＆Custom Sizes. Thickness (T); 0.50 - 0.80 mm. Length; 2800 / 3000 / Custom（≥2000）. 3. MATERIAL Material; Hot-dip Galvanized steel. Zinc Coating; Z100 - Z275 g/m². Surface finish; Galvanized silver-grey finish; custom color powder coating available.. 4. TOLERANCE Thickness; 0/-0.02 mm. Width; 0/-0.5 mm. Length; ±1.0 mm. | 6.Product Photo DXL-WS SERIES. 7.SECTIONVIEW DXL-WS PROFILE. 8. PACKAGING Standard bundle packing category-name printed bag. Easy for storage and identification |
| --- | --- |

Specification Table

| Model | Overall Width | Top Width | Flange Width | Height | Thickness （mm） | Length (T) mm | Packing |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DXL- | 90 | 50 | 20 | 50 | 0.50 - 0.80 mm | 2800 3000 custom（≥2000） | As per order confirmation |
| DXL- | 52 | 32 | 10 | 16 | 0.50 - 0.80 mm | 2800 3000 custom（≥2000） | As per order confirmation |

Notes

- Custom length available for all models

- Special dimensions and thickness are available upon request

- Theoretical weight is for reference only. Actual weight shall prevail